## Slide 1: Translational Pathways for Catheter Ablation Development
Douglas L. Packer MD
ISCTR-TCT Consensus Summit
San Diego, California
September 21, 2018
Methods For Catheter
Ablation Development

## Slide 2: Disclosures
Dr. D. Packer in the past 12 months has provided consulting services for Biosense Webster, Inc., Boston Scientific, CyberHeart, Medtronic, Inc., nContact, Sanofi-Aventis, St. Jude Medical, and Toray Industries. Dr. Packer received no personal compensation for these consulting activities.
Dr. Packer receives research funding from the NIH, Medtronic, Inc., Cryo Cath, Siemens AG, EP Limited, Minnesota Partnership for Biotechnology and Medical Genomics/ University of Minnesota, Biosense Webster, Inc. and Boston Scientific.
Mayo Clinic and Drs. D. Packer and R. Robb have a financial interest in mapping technology that may have been used at some of the 10 centers participating in this pilot research. In accordance with the Bayh-Dole Act, this technology has been licensed to St. Jude Medical, and Mayo Clinic and Drs. Packer and Robb received annual royalties >$10,000, the federal threshold for significant financial interest.
Notes: CP947437 Packer, DL MC 8-3-2000
2

## Slide 3: Integrated Research / Innovation Matrix
Unmet Needs
Clinical Trials
Define
Development
Dream/ Vision
Discovery
Methods For Catheter
Ablation Development

## Slide 4: Translational Pathways for Catheter Ablation Development
Unmet
Clinical Needs

## Slide 5: Un-Met Needs in Ablation
Discovery / Design / Think Tanks
Catheter Delivery / 3D Navigation
Energy Sources / Energy Penetration
Procedure Time / Single Interventions
Ablation Approaches/ Synergy AF/VT
Investigator / Regulatory / CMS /
Industry Collaboration: Early and Sustained
Innovation Cycle Times / Drive

## Slide 6
Design and Pathology of Needle Tip Ablation
Infarct scar
Linear lesion
1% TTC stain and 10% formalin fixed
Infarct scar
Infarct scar
lesion depth into scar tissue
12.6  2.8 mm
18
15
12
9
6
3
0
Lesion Depth (mm)
Catheter
Tip Design
Saline warming electrodes

## Slide 7: Integrated Image Guided Ablation
CT/MR imaging
Pre-procedure
2D fluoroscopy
In procedure
3D Rotational-CT
2D ICE
ICE imaging
3D ICE
Image fusion
Navigation intervention
Mapping
Electro- anatomic / NavX volumes
Carto sound
Image
Fusion
Image
Registration
Surface volume matching

## Slide 8: Un-Met Needs in Ablation
Discovery / Design / Think Tanks
Catheter Delivery / 3D Navigation
Energy Sources / Energy Penetration
Procedure Time / Single Interventions
Ablation Approaches/ Synergy AF/VT
Investigator / Regulatory / CMS /
Industry Collaboration: Early and Sustained
Innovation Cycle Times / Drive

## Slide 9: Translational Pathways for Catheter Ablation Development
Intellectual Property

## Slide 10: Integrated Research / Innovation Matrix
Unmet Needs
IP Boundaries/ Limitations
Contract / Legal Refinementt
Clinical Trials
Define
Development
Dream/ Vision
Discovery
Greater Good vs Good for One

## Slide 11: Translational Pathways for Catheter Ablation Development
Pre-Clinical Catheter Ablation Requirements and Testing

## Slide 12: Integrated Research / Innovation Matrix
Unmet Needs
Boundaries/ Limititations
Hypotheses
goals, specific aims
Refine
Design
protocols
project
Clinical Trials
Define
Development
Dream/ Vision
Discovery

## Slide 13: Integrated Research / Innovation Matrix
Unmet Needs
Boundaries/ Limititations
Hypotheses
goals, specific aims
Refine
Early Translational Genomics OMICS
Proteins
Metabolism
Ion channel
Cell signaling
Late Translational Computer Modeling Mouse/Rabbit
Langendorf Large animals
Design
protocols
project
Clinical Trials
Define
Development
Dream/ Vision
Discovery

## Slide 14: Translational Pathways for Catheter Ablation Development
Pre-Clinical
End Points

## Slide 15: Markers of Actual Energy Delivery
Temperature
Power /Current d
Electrogram 
Impedance
Microbubbles
Catheter tip icons flashlights or red tips
Contact force
Lesion Size
ICE image
Lesion footprint
Tissue temperature
AT / VT elimination
Surrogates
Real measures

## Slide 16: Surfing the Surrogates
ref

## Slide 17: Biophysical Matrix For Ablation
Power
Contact
Force
Temp
EGM
Imped
Icons
P
T
E
Ic
C F
Imp

## Slide 18: Biophysical Matrix For Ablation
Power
Contact
Force
Temp
EGM
Imped
Icons

## Slide 19: Translational Pathways for Catheter Ablation Development
Clinical
Evaluation

## Slide 20
3000955-1
Evidence Trajectory in Clinical AF Ablation Trials
Scientific
Merit,
Reliability,
Cost,
Value,
Quality
Early
single
center
Single
center
observ
Multi-
center
registries
Single
center
RCT
Multi-
center
RCT
Multiple
mortality
RCT
Pt (no.) 20 100 100 1000 10,000 1000 3,000
Meta-
Analysis
Efficacy
Safety
Mortality

## Slide 21: Integrated Research / Innovation Matrix
Unmet Needs
Boundaries/ Limititations
Hypotheses
goals, specific aims
Refine
Early Translational Genomics OMICS
Proteins
Metabolism
Ion channel
Cell signaling
Late Translational Computer Modeling Mouse/Rabbit
Langendorf Large animals
Results,
Technology, Procedures
MD/PT Adoption
Societal Guidelines
Long Term Follow-Up
EFS
RCTs
Comparative Effectiveness
Registries
Big Data
Design
protocols
project
Clinical Trials
Define
Development
Dream/ Vision
Discovery

## Slide 22
End-Point Pyramid of AF Treatment
Approach to Patients After Ablation Therapy
The theorist /purist
The pragmatist
The happy nihilist
The reformist
The grateful
The warfarin worries
Monitoring mandater
The time bider
Self-deception
No change
The Clinician
The Issue
No AF
No drug
No Sx AF
No intervention
Occ AF w/Sx
No intervention required
75% freq/duration of AF
No AF on previously ineffective AAD
<75% in frequency/duration on drugs
DFT/ATP success
PPM prevention

## Slide 23
Pattern / Progression
Paroxysmal
Burden
% time in AF (ILR or PPM in place)
Adverse
Events
Symptoms and Impact of AF
QOL scale hospitalization, cardioversion, drug therapy , PPM implantation, ablation
# of discrete AF episodes
Persistent
Longstanding persistent
Chronic
Complications of therapy (ablation, AAD)
Duration of diagnosis (time since first episode)
Post AblOR
Stroke, Sx, conversion pauses
PRO:
Assess patient experience
CON:
Subjective or dependent on practice patterns
PRO:
Well established, objective
CON:
-Imprecise
-Arbitrary time cut-offs
-uncertain physiologic basis
PRO:
Quantitative
CON:
Only available on a small subset of patients have devices
PRO:
Assesses impact of disease
CON:
Attribution of events to AF imprecise
LA size
LA fibrosis
LV EF
Comorbidities (OSA, VHD, CHF etc.)
AF Disease Severity Components
AF Substrate
PRO:
Describes the physiologic basis
CON:
Few standardized measures
Notes: JPP: Peter, I think the key challenge is that while AF disease severity can be measured in an infinite number of ways, for the purpose of a clinical trial that will be absorbed by the clinical care community, whatever yardstick or measure we choose will need to be simple and reproducible and implicitly understood (intuitive).

## Slide 24: PALPS (pattern, associations, lifestyle, percentage/burden, sequelae/complications
Pattern/progression
0=none
1=parox
Associations
Lifestyle impact
Percentage/burden
Sequelae/ complications
3=longstanding persistent
2= persistent
4=chronic
0=none
1=LAE
2=HTN, OSA
3=heart failure
4=severe MS, HCM
0=first quintile QOL score
1=second quintile QOL score
2=third quintile QOL score
3=fourth quintile QOL score
4=fifth quintile QOL score
0=none
1=longest episode <6min
2<50% more than 6 min
3>50% AF burden
4=100%
0=none
1=medicaiton escalation
2= hospitalization
3=major complication of therapy (bleed, TdP)
4=stroke
P
A
L
P
S
Notes: I think this would be challenging for a variety of reasons. I do like the concept, but I think it is somewhat complex. Its probably easier to present the data in each category in a more translucent way. For example, KM of AF progression to Prs forms of AF, KM of incident HF, CCS class over time, plot of SR at each follow-up in each arm, KM plot of incident AF hospitalization.

## Slide 25: Atrio-esophageal Fistula Cases: Contact Force vs. Non-contact Force
Paccini J, et al. Heart Rhythm 2017:1328

## Slide 26: Translational Pathways for Catheter Ablation Development
Reimbursement

## Slide 27
Reimbursement / Costs
Manufacturing
Translational Research
Bench →Bedside
EFS to IDE
Development
Expense
Reimbursement
CMS, Third Party Payments
Funding
Clinical Trials
Regulatory
Design
Costs

## Slide 28: Road to Integrated Research / Innovation Matrix
INNOVATION
Integrated Matrix
Unmet Needs
Boundaries/ Limititations
Hypotheses
goals, specific aims
Refine
Early Translational Genomics OMICS
Proteins
Metabolism
Ion channel
Cell signaling
Late Translational Computer Modeling Mouse/Rabbit
Langendorf Large animals
Results,
Technology, Procedures
MD/PT Adoption
Societal Guidelines
Long Term Follow-Up
EFS
RCTs
Comparative Effectiveness
Registries
Big Data
Design
protocols
project
Clinical Trials
Define
Development
Dream/ Vision
Discovery

## Slide 29: Translational Pathways for Catheter Ablation Development
Future of
Catheter Ablation

## Slide 30: Real Time MR Guidance of Ablation

## Slide 31: MR Overlay of Endocardial Maps

## Slide 32: Characteristics of Photon/Particle Therapy
Fokas, Kraft, An, Cabillio: Science Direct 216:1, 2009
Effects of particle therapy
 biological effectiveness
 ionization density
 DNA damages
 dose localization
Relative dose
Depth in water (mm)
Bragg Curves for Carbon Ions, Protons
Photons 21 MeV
12C 270 MeV/u
Protons 148 MeV/u
Bragg peak
Ugo Amaldi CERN Plasma Collider Center 2015
Notes: 32
CP947437 Packer, DL MC 8-3-2000

## Slide 34: 3D Motion Trajectory in LV from One Segmented Clip
3D rendering of left ventricle (yellow) and segmented clip (red).
Arrows show trajectory for one LV location at 0,20,40,60,80% of cardiac cycle
phase 0
phase 20
phase 40
phase 60
phase 80

## Slide 35
2 Field Scanned Proton Isodose Lines
Notes: CP947437 Packer, DL MC 8-3-2000

## Slide 36: Integrated Research / Innovation Matrix
INNOVATION
Integrated Matrix
Unmet Needs
Boundaries/ Limititations
Hypotheses
goals, specific aims
Refine
Early Translational Genomics OMICS
Proteins
Metabolism
Ion channel
Cell signaling
Late Translational Computer Modeling Mouse/Rabbit
Langendorf Large animals
Results,
Technology, Procedures
MD/PT Adoption
Societal Guidelines
Long Term Follow-Up
EFS
RCTs
Comparative Effectiveness
Registries
Big Data
Design
protocols
project
Clinical Trials
Define
Development
Dream/ Vision
Discovery