## Slide 1: The Methods for Translational Mitral/Tricuspid Valve Development
Michael Mack, MD
Baylor Scott & White Health
Dallas, TX

## Slide 2: Conflict of Interest Disclosure
Abbott Vascular- Co PI COAPT Trial
Medtronic- Study Chair-APOLLO Trial
Edwards Lifesciences- Co-PI PARTNER 3 Trial

## Slide 3
The Treatment of Valvular Heart Disease Is Changing !

## Slide 4: SAVR & TAVR Volumes in US
Chart: 
| 2014 | 2015 | 2016 | 2017Est
AVR +/-CABG | 48231 | 48355 | 46000 | 41490
#REF! | 1
TAVR | 16106 | 24908 | 37988 | 48434
Source: STS and ACC database as of January 23, 2018
Transcatheter Mitral and Tricuspid Therapy
Is Not TAVR “Redux”!

## Slide 5: Translational Research in Transcatheter Mitral Valve Therapy

## Slide 6
Timeline Courtesy Fred St. Goar

## Slide 7: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical Evaluation
  EFS
  Pivotal trials
  Clinical Endpoints
Regulatory
Coverage/Reimbursement
Clinical Adoption

## Slide 8: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical Evaluation
  EFS
  Pivotal trials
  Clinical Endpoints
Regulatory
Coverage/Reimbursement
Clinical Adoption

## Slide 9: Transcatheter MV Repair: Device Landscape 2018
Coronary sinus annuloplasty
• Cardiac Dimensions Carillon**
• Cerclage annuloplasty
Edge-to-edge
• MitraClip***
• MitraFlex
Pascal
Direct annuloplasty and basal ventriculoplasty
• Mitralign TAMR**
• Valtech Cardioband**
• GDS Accucinch*
• Millipede IRIS*
• MVRx ARTO*
• Mardil BACE*
• Mitraspan*
• Valcare Amend*
• Micardia enCor
• Cardiac Implants RDS
• QuantumCor (RF)
MV replacement (cont)
• MitralHeal
• HT Consultant Saturn
• Lutter valve
• Transcatheter Technologies Tresillo
• Venus
• Verso
• Transmural Systems
Other approaches
• NeoChord DS 1000**
• Harpoon neochords*
• Babic chords*
• Middle Peak Medical*
• St. Jude leaflet plication*
• Cardiosolutions Mitra-Spacer*
Valtech Vchordal
Mitralix
MV replacement
• Edwards CardiAQ*
• Edwards Fortis*
• Neovasc Tiara*
• Abbott Tendyne*
• Medtronic Intrepid*
• HighLife*
• MValve*
• Caison*
• NCSI NaviGate
• St. Jude
• Micro Interventional
• Valtech CardioValve
• ValveXchange
• MitrAssist
• Braile Quattuor
• Cephea
• Direct Flow
• Sinomed Accufit

## Slide 10: Mitral Regurgitation U.S. Disease Prevalence
4,600K
Total MR Patients (MR ≥2+)
High-risk, MR≥3+
Annual incidence, MR≥3+
Severe, MR≥3+
2,000K
290K
965K
Annual MV surgery (3%)
Large and Growing Clinical Unmet Need
55K
2016 MR Statistics
?

## Slide 11: Tricuspid Valve "The Forgotten Valve"
In 1967, Braunwald advised a conservative approach to TR. It was thought that appropriate correction of the left-sided valve disease would probably result in a decrease or even abolition of functional TR.
Braunwald NS, Ross J Jr, Morrow AG. Conservative management of TR in
patients undergoing mitral valve replacement. Circulation 1967;35(suppl):63–9

## Slide 12
Years-2000-2010
Procedures-54,375
- 4,943/year
Concomitant-46,593 (85.7%)
Isolated- 7,782
707/year
88.9% Repair
30 day mortality-9.6%

## Slide 13: Incidence/Management of Tricuspid Regurgitation
TR cases
Annual New TR
Annual MR Surgeries
Annual TR Surgeries
1,600,000
250,000
50,000
5,500
  Argarwal et al.
  Circ Cardiovasc Interv 2009;2:565-573

## Slide 15: Transcatheter Tricuspid Valve Procedures
Heterotopic implantation of caval valves
Direct annuloplasty
TV replacement
Filling the coaptation gap
Leaflet
  MitraClip
  Pascal
Annuloplasty
  Cardioband
  Trilign
  Fourtech TriCinch
Gap Filler
  Forma
Replacement
Navigate
CAVI
Trisol
Leaflet
Approximation
Tricuspid Valve is No Longer Forgotten!

## Slide 16: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical Evaluation
  EFS
  Pivotal trials
  Clinical Endpoints
Regulatory
Coverage
Reimbursement
Clinical Adoption

## Slide 17: Intellectual Property Mitral Devices
Edge to Edge
  Oz-1997
Annuloplasty
  Cosgrove-2003
  Ortiz-2002
Replacement
  Teitlebaum-1994
  Bailey-2002
  Hermann-2009
  Rowe-2009
  Lutter-2009
  Quadri-2013

## Slide 19: Other Intellectual Property for Mitral Valve
Docks
Delivery Systems

## Slide 20: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical evaluation
  EFS
  Pivotal trials
  Clinical endpoints
Regulatory
Coverage/Reimbursement
Clinical adoption

## Slide 21: Pre-clinical Testing Mitral/Tricuspid Translational Issues
Quality Management System (QMS)
Design Requirements
  Deliverability
  Structural Integrity
  Functional Performance

## Slide 22: System Requirements
Low profile
Atraumatic tracking
Cost-effective
Recapturable/repositionable
Intuitive design-ease of use
Material stability
Guide wire compatibility

## Slide 23: Pre-clinical Device Development Minimum Requirements for Human Testing
System Level Risk Assessment
Structural Component Stress Analysis (FEA)
Structural Component Fatigue Testing
Structural Component Reliability Assessment
Device Corrosion Assessment
Valve Durability
Valve Hydrodynamic Performance
Migration Resistance/Anchoring Integrity
Usability and Deliverability Assessment
Pre-Clinical in vivo Evaluation (Chronic Animal Study)
Crimp Damage Assessments

## Slide 24: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical evaluation
  EFS
  Pivotal trials
  Clinical endpoints
Regulatory
Coverage
Reimbursement
Clinical Adoption

## Slide 25: FDA Established Early Feasibility Study (EFS) Guidance in 2013

## Slide 26: Why EFS in the US ?
Earlier access to new medical devices for US patients and investigators
Geographic proximity of manufacturers to clinical trial sites facilitates interaction
No language issues
Familiarizes US regulators with the device earlier
Familiarizes clinical sites with device/procedure before pivotal trials

## Slide 27: EFS Program: First 4 Years
CDRH Office of Device Evaluation
Chart: Number
| FY14 | FY15 | FY16 | FY17
Submitted | 26 | 47 | 48 | 57
1st Round APPR or APCN | 18 | 39 | 38 | 40
Currently Fully Approved | 24 | 43 | 40 | 45
IDE Approval Trends
Notes: 2-fold increase

## Slide 28
TMVR
EFS in US
Fortis
CardiaQ
Tiara
Tendyne
Caisson
Intrepid
Navigate
M Dock

## Slide 29
TMVR Systems
#8
~480 patients treated worldwide
7 Early Feasibility Studies in US
3 Pivotal trials started or will start 2018

## Slide 30: Clinical Site Participation in U.S. Early Feasibility Studies
A voluntary, open research network of clinical sites that are committed to high quality, efficient EFS
Clinical site commitment: “60/60/60”
  IRB approval within 60 days
  Contract execution within 60 days
  1st patient enrollment within 60 days after IRB and contract execution

## Slide 33: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical Evaluation
  EFS
  Pivotal trials
  Clinical Endpoints
Regulatory
Coverage
Reimbursement
Clinical Adoption

## Slide 34: Pivotal Trial Design Ideal Trial
Regulatory
  Prove device is safe and effective
Reimbursement
  Demonstrate device is reasonable and necessary
Clinical Adoption
  Compelling data of benefit (and cost effectiveness)
Change Guidelines
  Randomized

## Slide 35: Pivotal Trials in TMVRepair
 | Device | Comparator
EVEREST II | MitraClip in DMR/FMR | MV Repair Surgery
COAPT | MitraClip in FMR | GDMT
CARILLON | CS annuloplasty | GDMT/Sham
ReChord | Neochord artificial chords | SMV Repair
ACTIVE | Edwards Cardioband | GDMT

## Slide 36: Ongoing Pivotal Trials in TMVReplacement
 | Device | Comparator
Intrepid | Medtronic TMVR | SMVR
Tendyne | Abbott TMVR | SMVR/r

## Slide 37: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical Evaluation
  EFS
  Pivotal trials
  Clinical Endpoints
Regulatory
Coverage
Reimbursement
Clinical Adoption

## Slide 39: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical evaluation
  EFS
  Pivotal trials
  Clinical endpoints
Regulatory
Coverage/Reimbursement
Clinical Adoption

## Slide 40: Regulatory/Reimbursement
Regulatory
Safe
Effective
Reimbursement
Reasonable
Necessary

## Slide 41: CMS Payment
Coverage
  Will we pay for it?
Reimbursement
  How much will we pay?

## Slide 42: CMS Coverage
More use of NCD’s (National Coverage Determinations) vs LCD’s
Increase use of “heart team” approaches (TAVR, MitraClip, LAAO)
Greater requirement for PRO’s (patient reported outcomes)
Favorable view of “evergreen” coverage

## Slide 43: Steps to Successful Medical Device Development
Defining clinical unmet need
Intellectual property considerations
Pre-clinical development
Clinical Evaluation
  EFS
  Pivotal trials
  Clinical Endpoints
Regulatory
Coverage
Reimbursement
Clinical Adoption

## Slide 44: Clinical Adoption Creating Value
Improve outcomes
Easier to use
Cost effective

## Slide 45: Drivers of Clinical Market Adoption
Evidence of benefit
User (more than patient) friendliness
Teachability

## Slide 46: Want Clinical Adoption?
FDA approval is not sufficient
Need compelling evidence
Coverage and reimbursement
Change the guidelines- RCT’s
AUC- comparative effectiveness

## Slide 47: Top Mitral/Tricuspid Questions !
Is the unmet need that great?
How will COAPT Trial outcomes affect the field?
Repair or replace?
Crowded space-who will survive?
What will be the IP issues in this crowded field?
Can we facilitate the clinical trial ecosystem?
How do we pay for innovation in the increasingly cost constrained clinical environment?
Will the Mitraclip 20 year saga ever need to be repeated?

## Slide 48: Transcatheter Valve Therapy
TAVR
Mitral
Tricuspid